GC-FS60EW

GC-FS_HR

5.2  Self-diagnosis

| Codes | Contents |
| --- | --- |
| P4 | Protection of temperature of indoor evaporator |
| P5 | Protection of temperature of outdoor condenser |
| P9 | Protection of defrosting or anti-cold wind |
| E1 | Open-circuit and short-circuit of temperature sensors T1 |
| E2 | Temp. sensor T2 on indoor evaporator is open circuit or short circuit |
| E3 | the condenser temperature sensor T3 is open or short |
| E6 | Protection of outdoor unit |

#### 5.3  LEDs for the indication of outdoor trouble

In normal operation, LEDs emit no light and they will flash at a frequency of 5 Hz when trouble occurs. Their codes are listed in the following table:

| LED1 | LED2 | LED3 | Contents |
| --- | --- | --- | --- |
| Off | Off | On | Ok |
| On | Off | On | Phase sequence error |
| Off | On | On | Overload of current |
| On | On | On | Lack of phase |